APPROVED MID-RISE DECKING MATERIALS

The office has had requests from owners to repair or install a covering for their decks. The following outlines the appropriate materials that you may use and the installation requirements for those of you that reside in the mid-rise buildings.

Suggested Materials to cover your mid-rise building deck:

- Outdoor weather rated, non-skid mahogany, teak or Ipe wood decking material.

- Outdoor weather rated composite decking materials.

- Weather rated non-skid paint. Color selected should be in harmony with the color palette of the Belmont.

- Exterior non-skid natural coating. (clear)

All composite of wooden decks must sit on multiple sets of sleepers that are easily removable, in order that the Trust may access the concrete slab. Sleepers must float on the deck. No nailing, screwing or gluing is allowed

IMPORTANT CHANGE REGARDING MID-RISE BALCONIES

All forms of tile (ceramic or porcelain) have been removed from the approved decking materials.

No owner may place or replace tile on their balconies. This change is necessary due to the porous nature of tile, grout and the concrete underneath. Water and moisture are seeping through and is causing damage to the hollow core slabs and is affecting unit owners beneath these tiled decks.

This change is effective immediately by Board vote on 10/27/17

Materials that will not be approved by the Belmont:

- Any slippery materials.

- Non-weatherproof paint.

- Paint that does not have non-skid properties.

- Any material that will retain water.

- Any form of tile.

As always, all materials and scope of work shall require samples, permission from the Board and inspection by the Maintenance Manager and Property Manager. Any deck covering that you choose should be in keeping with the harmony and color palette of the Belmont Condominiums.

All owners must agree to remove, at their own expense, any approved decking materials in the event that the Belmont Condominium Trust needs to waterproof the concrete slab on your balcony. This will be a condition of approval and by signing the ARC Form; you understand that you will be responsible for all removal and replacement of any non-original decking materials.

Owner’s Signature ________________________________

Date ____________________________________________